# FURNACE AGE CHART (years only)

Amana (1971-1995  Now owned by Goodman) uses (1st letter)   “B L A C K H O R S E” code prior to being owned by Goodman                                                                                                   ex   BB80200127  =  1971 or 1981

B-71,81,91,01  L-72,82,92,02  A-73,83,93,03  C-74,84,94,04  K-75,85,95,05

H-76,86,96,06  O-77,87,97,07  R-78,88,98,08  S-79,89,99,09  E-80,90,00,10

AirTemp  5th digit in S# = year  (Only manufactured in 1977-1978)

Airquest: A letter followed by two #’s in S# are year.                                                      ex: R883512345  =  1988

American Standard (date on plate since 1987)

1) If S# is 9 numbers than (2002-present), the first digit of the serial number is the year followed by the week.                                              .                                                                                                                               ex 7165RHAIG = 16th week of 2007

2) If S# starts with a letter (1983-2001)  a letter was used in the first position to designate the year followed by the week. W = 83, X = 84, Y = 85, S = 86, B = 87, C = 88, D = 89, E = 90, F = 91, G = 92, H = 93, J = 94, K = 95,

L = 96, M = 97, N = 98, P = 99, R = 00, Z = 01.                                                                       ex B50632891 = Dec 87

3) If S # is 6 numbers than a letter (1980-1982),  1980, 1981, 1982  the year is a letter in the 7th place. O = 80, T = 81, U = 82

4) If S# is number letter-4 numbers (1971-1979) In 70’s  there was a number for year followed by letter for month   .                       .                                                                                                                                     ex   1C-xxxx = March 1971, etc..

Arco-aire: A letter followed by two #’s in the S# = year                                                 ex: R883512345  =  1988

## Aire-Flo  3rd and 4th digit in S# = Year                                                       ex   4604E13679  =  2004

## Armstrong (1974-Present)  3rd and 4th number in S# = year                                           ex  5899A05231  =  1999                                  Pre 1974 it was the first two numbers in the S# can call 800 448-5872 or 972-497-5799  (most are stamped on – See Lennox)

Bard:  ( June 1980 to Current)     5th & 6th digits in S# = Year                              ex   123A91123454502  =  1991

(1962 to March 1980)  8th digit = year.                                                                                 ex 123456 A D  (D= 1964)

1962 = B  1963 = C  1964 = D  1965 = E  1966 = F 1967 = G 1968 = H 1969 = J 1970 = K 1971 = L  1972 = M

1973 = N 1974 = O 1975 = P 1976 = R 1977 = S 1978 = T 1979 = U 1980 = V

Broan (since 2005)  4th and 5th digits in S# = year     (S# will start with letter)          ex   GT3050153269  =  2005

Bryant: see Carrier

# Burnham  Must Call   888-432-8887

## Buderus  2 types                                                                                                                 603-552-1100

1) If order is like:  63036333-00-7080-3241
The third series of numbers is the Manufacture date- this tank was manufactured on the 80th day of 2007, so the first digit signifies the year and the next three signify the day of the year - ex. 005, 065, 365
2)If order is like:  253000-08065-00040-77470007254
The second sequence is the year and day of the year the product was manufactured so-65th day of 2008.
 --------------------------------------------------------------------------------------------------------------------------------------------

Carrier, Bryant, Payne, Day & Night: Recently (last 20 years or so)  3rd and 4th  digits in S# = year

Through 1969, the first digit of the serial number indicates the year of manufacture. Example: 3xxxxxx = 1963,

1970 and later, a letter followed by a number indicates the month and year of manufacture. Example: A1 = January 1971, B1 = February 1971, C4 = March 1974 etc.

Central Environmental Stystems  see York

Chrysler Air Temp:  2 types  1)Age is shown by the first digit of the serial number and corresponds to the last number of the year of manufacturer. Example 0C893745 = 1970. 1 = 1971, 2 = 1972, etc. Use common sense and visual observation to distinguish decades from one another.

2)  5th digit in S# = year    (8 = 1978)

---------------------------------------------------------------------------------------------------------------------------------------------

Climatrol:  Call 817-221-3259

Climate Master:  First two digits of S# = Year                                                              ex   92J010915  =  1992

Coleman:  (1992-present)  1st two digits in S# = year   ,  (pre 1992)  3rd and 4th digits in S# = year

# Columbia  Call 610-473-8457

Comfortmaker: A letter followed by two #’s in S# = year                                           ex: R883512345  =  1988

Concord  3rd and 4th digits in S# = year                                                                                           1-800-448-5872

Conquest  1st two digits in S# after the last letter (usally beginning with the 8th digit) = year

Day-Night: (since 1979 see Carrier)  (Prior to BDP in Pre1979) Age coded into the serial number. First letter is the month followed by the second letter which is the year. A = 1970, B = 1971, Etc. Example: AAxxxxxx = January 1970

## Dayton  A letter followed by two #’s in the S# = year                                                       ex: R883512345  =  1988

Ducane:  2 Types: 1) If serial # is all #’s then last four are year and week      ex 4140720320 =  20th week of 2003

2)  If 5th  character is a letter (more recent) year is 3rd and 4th character               ex 4603M12345 is 46th week of 2003

# Dunkirk  3rd and 4th  digits in S# = year

# Enterprise Fawcett 	2nd letter in S# = year

A- 1975	2001  B- 1976  2002  C- 1977  2003  D- 1978  2004  E- 1979	2005  F- 1980  2006  G- 1981  2007

H- 1982 2008  I- 1983  2009  J- 1984  2010  K- 1985 2011  L- 1986  2012  M- 1987  2013  N- 1988  2014

O- 1989  2015  P- 1990  2016  Q- 1991  2017  R- 1992  2018  S- 1993  2019  T- 1994  2020  U- 1995  2021

V- 1996	2022  W- 1997  2023  X- 1998  2024  Y- 1999  2025  Z- 2000	2026

Evcon  (1992-present)  3rd and 4th digits in S# =  year    (pre 1992)  1st two digits in S# = year

Fedders: Through 1977, the last two letters of the serial number show the month/year of manufacture, beginning with September 1964. Example: xxxxAA = Sept 66, xxxxBC = Oct 68.(I is not used)

First Company Service Parts:  Call 214-388-5751

Fraser  See York

Frigidaire (since 1998) 4th and 5th digit in S# = year, (pre 1989) last 3 digits in S# =  year and month.  See Nordyne

General Electric (Stopped in mid 80’s- Trane Since)  Age is the last 3 digits of the serial number. First digit being the year and the second and third digits being the month. Example xxxxx241 = 41st week of 1982, 92, 02 etc., xxxxx533 = 33rd week of 1985, 95, 05 etc..   Not very reliable.  Look for evidence of age

Gibson 1st two Numbers in S# = year  (usually 1st two digits in S#  are numbers and = year)           or see Nordyne

Goodman: 1st two digits in S# = year                                   (usually 1st two digits in S#  are numbers and = year)

Grandaire  4th and 5th digit in S# =  year                                                                     ex  GS3991251776  =  1999

Heat Controller  2nd and 3rd digits in S# = year                                                              ex  28903 160610  =  1989

H.B. Smith  1st two numbers (usally after one letter) in S# = year                                         ex  D86 2810P  =  1986

Heil(and Heil Quaker) 2 styles 1) (1994 to present) A letter followed by two #’s in S# = year ex: R883512345 = 1988                                                                     2) (1980-1994) 1st two digits in S#, First letter is first number, so  H7 I= 1987      (since H is the 8th letter in alphabet)

Hydraulics Institute CAC/BDP  3rd and 4th digits in S# =  year

Hydro Therm  The middle 4 mumbers in the S# =  year                                                                 413 564-5515

Inter City  1st two digits in S# = year

Intertherm  4th and 5th digits in S# = year   (S# will start with letter)

International Comfort Products A letter followed by two #’s in S# are year  ex: R883512345 = 1988  May also be stamped on label

Janitrol  1st two digits in S# = year

Johnson  see York

Keeprite  3 types 1)  (1994-present)A letter followed by two #’s in S# = year.               ex: R883512345  =  1988 2)  (1980-1993)  1st digit in S# = year                                                                            ex  305123456  =  1983 or 1993 3)  (1970-1994)  The last letter in first series of letters = year                                                                                          S = 1970  T = 1971  U = 1972  V = 1973  W = 1974  X = 1975  Y = 1976  Z = 1977  A = 1978  B = 1979  C = 1980  D = 1981  E = 1982  F = 1983  G = 1984  H = 1985  “I” was not used  J = 1986  K = 1987  L = 1988  M = 1989  N = 1990  O = 1991  P = 1992  Q = 1993  R = 1994

# Kelvinator  4th and 5th digits in S# = year   (S# will start with letter)

# Kenmore 2 types  (1994-present) 1)  A letter followed by two #’s in S# are year             ex: R883512345  =  1988            2)  (1980-1989)  The first digit (a letter) is decade followed by a number                              ex    H61139301  =  1986

Lennox: (1974-Present)  3rd and 4th number in S# = year                Pre 1974 it was the first two numbers in the S#                                                                            800 448-5872 or 972-497-5799                                                                                             many are stamped on label

Lincoln  A letter followed by two #’s in the S# are year                                                   ex: R883512345  =  1988

---------------------------------------------------------------------------------------------------------------------------------------------

Luxaire  see York

Mammoth see Nordyne                                                                                                                    (800) 222-4328

Magic Chef  (only manufactured from 1984-1998)  8th digit (a letter usually second to last) = year                          A = 1980  B = 1981  C = 1982  D = 1983  E = 1984  F = 1985  G = 1986  H = 1987  “I” was not used  J = 1988  K = 1989  L = 1990               M = 1991  N = 1992  O = 1993  P = 1994  Q = 1995  R = 1996  S = 1997  T = 1998     ex  I04509EEB  =  1984  (E-=1984)

Magic Pak (1974 - Present)  3rd and 4th digit in S# = year

Maytag  (only since 2002)  see Nordyne

## Miller see Nordyne                                                                                                                              (800) 222-4328

Modine  3rd and 4th digits in S# = year  (1st 2 are week, if week is 1-9 than the year is 2nd and 3rd digit in S# - [no 01,02 etc])

Montgomery Ward 1st four numbers after last letter in S# = week and year   ex KP30102F52756585 =1975

NEWMAC  4th and 5th digit in S# = year                                                          ex     NL2 021803 D036000  =  2002

New Yorker  usually printed on label    or   see Oneida Royal

Nordyne  4th and 5th digits in S# = year   (S# will start with letter)  ex GT3050153269  =  2005              (800) 222-4328

# NuTone   see Nordyne                                                                                                                       (800) 222-4328

# Oneida Royal  1st two digits in S# = year

# Payne  see Carrier

# Peerless  (pre 1984 no date of manufacture)  (1984-2000) the last series of numbers are month and year

# ex     JO-12345-1084  =  1984.

# (2000-present) same idea only it was a six digit date code following the serial number that is year and month.          ex  1234567-200105  =  May of 2001.                                                                                                                      Anything w/o the addition to the serial number would have been made before 1984 and would require contact with the factory.

# Pennco  A letter followed by 4 #’s, 3rd and 4th #’s = year                                                ex   P390200032   =   2002

# Penstan Air-ease  3rd and 4th digits in S# = year                                                       ex     8404506602  =  2004

Philco  See Nordyne

Republic  1st four numbers after last letter in S# = week and year                ex     DC5D702F280123456  =  2001

Reznor Call 1800-695-1901  (chart at home)

Rheem/Ruud (1970’s to present)  the 4 #’s after the last letter in the S# = wk/yr           ex  CB5D302F099903346  =  1999

(1955 to early 1970’s)  the last 4 numbers of S# = week and year                                              ex  123451872  =  1972

Rinnai   1st two digits in S# = year                                                                                       ex 010912345   =   2001

## Sears  3 types  1)  A letter followed by two #’s in S# are year                                           ex: R883512345  =  1988            2)  (1980-1989)  The first digit (a letter) is decade followed by a number                               ex    H61139301  =  1986 3)  If S# is all #’s, 3rd and 4th are year                                                                                          ex   22880018   =  1988

# Slant Fin  1st two #’s after the letter in S# = year                                                                 ex   G0049257  =  2000

Snyder General  A letter followed by two #’s =  year                                                 ex: R883512345  =  1988

Tappan  Last two #’s in S # = year (then a letter for month)    or    See Nordyne

Tempstar (1990-present)  A letter followed by two #’s in S# =  year                              ex: R883512345  =  1988

Thermo-Pride  Must call 574 896-2133

Trane  (date on plate since 1987)

1) If S# is 9 numbers than (2002-present), the first digit of the serial number is the year followed by the week.                                                                  .                                                                                                                               ex 7165RHAIG = 16th week of 2007

2) If S# starts with a letter (1983-2001)  a letter was used in the first position to designate the year followed by the week. W = 83, X = 84, Y = 85, S = 86, B = 87, C = 88, D = 89, E = 90, F = 91, G = 92, H = 93, J = 94, K = 95,

L = 96, M = 97, N = 98, P = 99, R = 00, Z = 01.                                                                       ex B50632891 = Dec 87

3) If S # is 6 numbers than a letter (1980-1982),  1980, 1981, 1982  the year is a letter in the 7th place. O = 80, T = 81, U = 82

4) If S# = number than letter-4 numbers (1971-1979) In 70’s  there was a number for year followed by letter for month                                                                                                                            ex   1C-xxxx = March 1971, etc..

Ultimate  Last two digits in S# = Year

Union Energy   3rd and 4th digits are year                                                                      ex  2701E15232  = 2001

Utica Boiler 2 types  1)  (1979-2002)  1st letter = month, 2nd  letter = year

I=79  J=80  K=81  L=82  M=83  A=84  B=85  C=86  D=87  E=88  F=89  G=90  H=91  P=93 R=94  S=95  T=96  U=97  V =98  W=99  X=00  Y=01  Z=02  UA=03                                                                        ex  HT11826  =  2006                                                                                        2)  (2003-present)  1st and 3rd letter of S# = year

U_A = 2003  U_B = 2004  U_C = 2005  U_D = 2006  U_E = 2007  U_F = 2008  U_G = 2009              ex  UAA23456 = 2006

Westinghouse   4th and 5th digits in S# = year   (S# will start with letter)                       ex GSD060700023  =  2006

------------------------------------------------------------------------------------------------------------------------------------------------------------

Whirlpool  Begins in 1970. The letter indicates the decade followed by the week. G = 1970's, H=1980's, J=1990's, K=2000's                                                                                              ex H416XXXXX = 16th week of 1984

Williamson ThermoFlo  Goes by CP#  Must call  (800) 736-2378 or (800) 736-BEST

YORK (Unitary Products since 1984)  (most have date on plate)                    Call 877 874-7378  or 188 231-4822

1)  (2004-Present)  1st and 3rd # in S# = year                                                                            ex    0A5123456  =  2005 2)  (1971-2004)  The 3rd digit (a letter) = year                                                        ex    EFBM210830  =  1972 or 1993    A = 1971 or 1992  B = 1972 or 1993  C = 1973 or 1994  D = 1974 or 1995  E = 1975 or 1996  F = 1976 or 1997  G = 1977 or 1998

H = 1978 or 1999  I was not used  J = 1979 or 2000  K = 1980 or 2001  L = 1981 or 2002  M = 1982 or 2003  N = 1983 or 2004 (except October, November, and December.  See below.)  O was not used  P = 1984  Q was not used  R = 1985  S = 1986  T = 1987  U was not used

V = 1988  W = 1999  X = 1990   Y = 1991

# Water Furnace  3rd and 4th digits in WO# = year

# Weil-McLain  CP # Ranges		1999=	3621001		3810000

1988=    1414001   	1681500		2000=  	3810001		4055000

1989=	1681501		1871500		2001=	4055001		4311000

1990=	1871501		2056001		2002=	4311001		4586999

1991=	2056001		2217399		2003=	4587000		4807000

1992=	2217400		2399999		2004=	4807001		5047000

1993=	2400000		2609500		2005=	5047001		5301000

1994=    2609501		2815000		2006=	5301001		5454497

1995=	2815001		3003000		2007=	5454498		5731063

1996= 	3003001		3213000		2008=	5731064		5957346

1997=	3213001		3441400		2009=	5957347

1998=	3441401		3621000