Proposed Standard of Practice (WHILAG)

This draft is a consensus document developed through the work of the Washington Home Inspectors Legislative Advisory Group (WHILAG), a coalition of concerned Washington State inspectors who are variously affiliated with ASHI, NAHI, AII, NACHI, AHIA, NABIE, WSPCA, WSIA, as well as independent non-affiliated inspectors.

This is not an official SOP. It is a first draft of a model standard of practice proposed by WHILAG to be included in any forthcoming legislation that requires home inspectors to follow a single consistent standard of practice. (October 2007)

STRUCTURE

An inspection of the structure includes the foundation walls; first-floor systems; roof framing and decking; other support and sub-structure components; stairs, ventilation (when applicable); grade slab and/or floor slab.

The Inspector will:

Describe the type of structure and material comprising the structure and other items inspected as well as the material comprising the roof structure in the visible attic areas. 

Observe the condition and serviceability of visible, exposed areas of foundation walls, grade slab, bearing walls, posts, piers, beams, joists, trusses, sub-floors, chimney foundations, stairs, and other similar structural components, including the condition of the visible roof structure and attic components where readily and safely accessible; the visible condition of floor slab when present and observe sub-floor crawl space ventilation and vapor barriers.

Probe a representative number of structural components where deterioration is suspected or where clear indications of possible deterioration exist. Probing is not required when probing will damage any finished surface or where no deterioration is visible.

Inspect foundations for indications of flooding, moisture, or water penetration and/or any visible and accessible wooden members.

The inspector is not required to:

Enter any sub-floor crawlspaces with an access opening less than 18 inches by 24 inches or headroom less than 18 inches beneath floor joists and 12 inches beneath girders or those areas with other obstructions or detrimental conditions, which, in the inspector's opinion, contain conditions or materials hazardous to the health and safety of the inspector. 

Move stored items or debris or perform excavation to gain access.


EXTERIOR

An inspection of the exterior includes the visible structural components; wall covering, trim, protective coatings and sealants; windows and doors; attached porches, decks, steps, balconies, handrails, guardrails, and carports; eaves, soffits and fascias; and visible exterior portions of chimneys.

The Inspector will:

Describe the type and material comprising the exterior components inspected.

Observe the condition of the components from the ground level and the condition of a representative number of visible windows and doors.

Inspect attached porches, decks, steps, balconies, handrails, and guardrails by probing.

The Inspector is not required to:

Inspect buildings, decks, patios, retaining walls, and other structures detached from the house; inspect or test the operation of security locks, devices or systems; inspect for safety type glass or the integrity of thermal window seals or damaged glass; or enter areas beneath decks with less than 5 feet of clearance from the underside of joists to grade.

Evaluate the function of shutters, awnings, storm doors, storm windows and similar accessories or the presence, extent, and type of insulation and vapor barriers in the exterior walls.

Examine the interior of the chimney flues or determine the presence or absence of flu liners.


ROOFS

An inspection of the roof includes the roof covering material; rain gutter and downspout system; visible portions of roof flashings; roof ventilation; skylights, and roof penetrations; and the portions of the chimney and flues visible from the exterior.

The Inspector will:

Describe the type of roofing and gutters.

Observe the condition of visible roof material, rain gutter and downspout systems, visible portions of roof flashings, roof soffits and fascias, roof vents, skylights and roof drainage systems.

Inspect the roof covering; roof drainage systems; flashings; skylights; chimneys and roof penetrations.

Report the methods used to inspect the roof and the presence or absence of roof ventilation.

The Inspector is not required to:

Walk on or access a roof where it could damage the roof or roofing material or be unsafe for the Inspector.

Remove snow, ice, debris or other conditions that prohibit the observation of the roof surfaces

Inspect internal gutter and downspout systems and related underground drainage piping and antennas, lightning arresters, or similar attachments.

Operate powered roof ventilators.

Determine remaining life expectancy of roof coverings, presence or absence of hail damage; manufacturers’ defects, exceptions, installation methods or recalls; number of layers or adequacy of roof ventilation.


PLUMBING SYSTEM

An inspection of the plumbing system includes visible water supply lines; visible waste/soil and vent lines; fixtures and faucets; domestic hot water system and fuel source.

The inspector will:

Describe water supply and distribution piping materials; drain, waste and vent materials; water-heating equipment and report the presence of sump pumps if visible (evaluation of function or adequacy is not included).

Verify the presence of a main water supply valve.

Inspect the condition of accessible and visible water and waste lines and inspect and operate all fixtures and faucets and the domestic hot water system when possible.

Test the water supply for functional flow and the waste lines from sinks, tubs and showers for functional drainage.

The Inspector is not required to:

Operate any main, branch or fixture valve, except faucets or freestanding or built-in appliances or fixtures and faucets if the flow end of the faucet is connected to an appliance.

Inspect any system that is shut-down, secured or winterized; any plumbing components not readily accessible; any exterior plumbing components or interior or exterior drain systems; interior fire sprinkler systems; water conditioning equipment, including softener and filter systems; private water supply systems; gas supply systems for materials, installation or leakage.

Evaluate the potability of any water supply or the condition and operation of water wells and related pressure tanks and pumps; the quality or quantity of water from on-site water supplies; or the condition and operation of on-site sewage disposal systems such as cesspools, septic tanks, drain fields, related underground piping, conduit, cisterns, and all related equipment.

Determine water temperature.

Record location of any on-site visible fuel tanks within or directly adjacent to a structure.

Light pilot flames.

Test shower pans, tub and shower surrounds or enclosures for leaking; Watts 210 valves and/or TPR valves.

Examine ancillary systems or components such as, but not limited to, those related to solar water heating and hot water circulation.


ELECTRICAL SYSTEM

The inspection of the Electrical System includes the entrance of the primary service from masthead to main panel; main and sub-panels including feeders; branch circuits, connected devices, and lighting fixtures; procedures for Inspection.

The Inspector will:

Describe the type and location of primary service (overhead or underground), voltage, amperage, and over-current protection devices (fuses or breakers).

Observe the existence of a connected grounding conductor when readily accessible and the general condition of visible branch circuit conductors that may constitute a hazard to the occupant or the structure by reason of improper use or installation of electrical components.

Inspect the main and branch circuit conductors for proper over current protection and condition by visual observation after removal of the readily accessible main and sub electric panel cover(s).

Report the presence of solid conductor aluminum branch circuit wiring at the main and sub-panels.

Verify the operation of a representative number of accessible switches, receptacles and light fixtures; grounding and polarity of a representative number of receptacles in proximity to plumbing fixtures or on the exterior; and the operation of ground fault circuit interrupters (GFCI), if present.

Test the operation of installed arc fault circuit interrupters in the service panel. 

The Inspector is not required to:

Insert any tool, probe or testing device into the main or sub-panels.

Activate electrical systems or branch circuits which are not energized.

Operate overload protection devices.

Inspect ancillary systems, including but not limited to: timers, burglar alarms, home protection systems, low voltage relays, smoke/heat detectors, antennas, electrical de-icing tapes, lawn sprinkler wiring, swimming pool or spa wiring or electrical equipment not readily accessible.

Dismantle any electrical device or control.

Move any objects, furniture, or appliances to gain access to any electrical component.

Test every switch, receptacle, and fixture.

Remove switch and outlet cover plates.

Verify the continuity of connected service ground(s).

HEATING SYSTEM

The inspection of the heating system includes the fuel source; heating equipment; heating distribution; operating controls; flue pipes, chimneys and venting; auxiliary heating units.

The Inspector will:

Describe type of fuel, heating equipment, and heating distribution system.

Operate the system using normal readily accessible control devices.

Open readily accessible access panels or covers provided by the manufacturer or installer, if readily detachable.

Observe the condition of normally operated controls and components of the systems; visible flue pipes, and related components for functional operation; the condition of a representative number of heat sources in each habitable space of the house.

Observe and report the absence of combustion air

Inspect the operation of fixed supplementary heat units. 

The Inspector is not required to:

Ignite pilot lights.

Activate or operate heating or other systems that do not respond to normal controls or have been shutdown; or heating, heat pump systems, or other systems when ambient temperatures or other circumstances are not conducive to safe operation or may damage the equipment.

Inspect or evaluate a heat exchanger; equipment that is not readily accessible; the interior of chimneys and flues; heating system accessories, such as humidifiers, air purifiers, motorized dampers, heat reclaimers, etc.; solar heating systems; or concealed distribution systems for any type of heating system. 

Remove covers or panels that are not readily accessible.

Dismantle any equipment, controls, or gauges.

Evaluate the type of material contained in insulation and/or wrapping of pipes, ducts, jackets and boilers; or capacity, adequacy, or efficiency of a heating or cooling system.

Evaluate digital-type thermostats or controls.

Test or operate solar heating devices.

Determine adequacy of combustion air.

AIR CONDITIONING SYSTEMS

The inspection of the air conditioning system includes the cooling equipment; cooling distribution; operating controls; procedures for Inspection.

The Inspector will:

Describe the type of central air conditioning system and energy sources.

Operate the system using normal control devices.

Open readily accessible access panels or covers provided by the manufacturer or installer, if readily accessible.

Observe the condition of controls and operative components of the complete system, conditions permitting; and the condition of a representative number of the central air cooling outlets in each habitable space of the house.

The Inspector is not required to:

Activate or operate cooling or other systems that have been shut-down.

Inspect gas-fired refrigeration systems, evaporative coolers, or wall or window-mounted air conditioning units.

Check the pressure of the system coolant or determine the presence of leakage.

Evaluate the capacity, efficiency, or adequacy of the system.

Operate equipment or systems if exterior temperature is below 60° Fahrenheit or when other circumstances are not conducive to safe operation or may damage the equipment.

Remove covers or panels that are not readily accessible.

Dismantle any equipment, controls, or gauges.

Check the electrical current drawn by the unit.

Evaluate digital-type thermostats or controls.


INTERIORS

The inspection of the interior includes the walls, ceilings, floors, windows, and doors; steps, stairways, balconies and railings.

The inspector will:

Verify the presence of steps, stairways, balconies, handrails and guardrails and observe their condition.

Observe the visible condition of cabinets and countertops, caulking and grout and the surfaces of walls, ceilings, and floors relative to structural integrity and evidence of water penetration.; the condition of steps, stairways, balconies, handrails and guardrails.

Describe the condition and operation of a representative number of windows and doors.

Comment on presence or absence of smoke detectors.

The Inspector is not required to:

Determine clearance to combustibles in concealed areas and cosmetic condition of ceilings, walls, floor coverings and components.


INSULATION AND VENTILATION

The inspection of the insulation and ventilation includes the insulation and vapor retarders in unfinished spaces; ventilation of attic and foundation areas; and mechanical ventilation systems.

The inspector will:

Inspect the insulation and vapor retarders in unfinished spaces; the ventilation of attics and foundation areas; and the mechanical ventilation systems.

Describe the insulation in unfinished spaces and the absence of insulation in unfinished spaces at conditioned surfaces.

Report the absence of insulation on heating ductwork and water supply plumbing in unconditioned spaces.

The inspector is not required to:

Enter attic spaces that are not readily accessible.

Break or otherwise damage the surface finish or weather seal on or around access panels and covers.

Operate powered attic or foundation area ventilation system fans.


FIREPLACES AND STOVES 

Includes solid fuel and gas fireplaces, stoves, dampers, fireboxes and hearths.

The inspector will:

Observe the condition of fireplaces, stoves, dampers, fire boxes and hearths readily visible.

The Inspector is not required to:

Inspect the interior of flues or chimneys.

Ignite fires in a fireplace or stove to determine the adequacy of draft, perform a chimney smoke test, or inspect any solid fuel device in use.

Evaluate the installation or adequacy of inserts, wood burning stoves, or other modifications in a fireplace, stove, or chimney.

Dismantle fireplaces or stoves to inspect chimneys or fireboxes.


SITE

The inspection of the site includes the building perimeter, land grade, and water drainage directly adjacent to the foundation; trees and vegetation that adversely affect the structure; walks, grade steps, driveways, patios, and retaining walls contiguous with the structure.

The inspector will:

Describe the type of material and inspect the condition of the driveways, walkways, grade steps, patios, and other items contiguous with the inspected structure.

Observe the drainage, grading, and vegetation for conditions that adversely affect the structure.

The Inspector is not required to:

Inspect fences or privacy walls.

Evaluate the condition of trees, shrubs, and or other vegetation; soil or geological conditions, hydrological conditions; seawalls, break-walls, and docks; site engineering or property boundaries.

Determine soil or geological conditions, site engineering, or property boundaries.